Self Study Project

2015 , May-June

ARM Based

Standalone Dual Channel Oscilloscope

-by-

Ajinkya Gorad

IIT Bombay

This page is intentionally left blank

# About

This document describes about the software and hardware part of the hobby project  named ‘Standalone Oscilloscope’ based on ARM LPC2148 processor.

This document describes the proto version.

# Index

Contents

About	3

Index	5

Introduction	6

# Introduction

It is a ARM processor LPC2148 based Dual channel Oscilloscope using  ILI9225 LCD display which can show two voltage waveforms simultaneously from a windowed sampled data. It can also display the frequency spectrum for both  the channels and X-Y plot between  the  channels. It can also output a custom programmed periodic analog signal through inbuilt DAC hence can generate varied waveforms.

It can be operated from a 3.7V lithium ion battery enabling portable applications.

# Components

Following components were used in making of the oscilloscope

- Hardware Components

  - LPC2148 ARM processor shield

  - ILI9225 2.2” TFT LCD module

  - CP2102- USB to UART ( for programming uC)

- Software Used

# Schematic Circuit Diagram

# Software Modules

- uVision IDE for ARM (limited version)

- Flash Magic ( for programming LPC2148)